|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Number** | **Item** | **Specifications** | **Quantity** | **Total Number** |
| 1 | N95 Masks | * Case of 440 * 3M N95 9205+ Aura Series * No exhalation valves * N95 Filter Class * White * Particulate Respirator * Standard Size * 3 Panel Flat Fold Style * NIOSH approved for at least 95 percent filtration efficiency against certain non-oil based particles * Meets NIOSH 42 CFR 84 N95 requirements * Soft nose foam and adjustable nose clip * Embossed top panel for reduced eyewear fogging * Chin tab for ease of positioning, donning, and adjustment * Stapled headbands * Individually packed * Latex free | 53 | 23,320 |
| 2 | Surgical Masks | * Case of 2,000 * Global Glove NW-M1 FrogWear Lightweight Mask * Three layers of polypropylene * Blue * Adjustable nose bridge * Elastic ear loop straps * Bi-directional pleats * Single Use * Packaged in boxes of 50 | 32 | 64,000 |
| 3 | Face Shields | * Case of 80 * Bull Head BH-S1 * 9” (W) x 13” (L) shield * Copolyester * 1” thick foam forehead padding * Elastic head strap | 49 | 3,920 |
| 4 | Body Gowns | * Case of 100 * Association for the Advancement of Medical Instrumentation (AAMI) Level 1 * Tie back closure * Color: Yellow, Blue, or White * Calf length * Long sleeve * Universal/one-size * Individually packed * Single use | 40 | 4,000 |
| 5 | Nitrile Gloves | * Case of 100 * MicroFlex * Blue * Disposable/single use * 4.2mil - 5.6mil palm thickness * Nitrile * Powder-Free * Sizes: * Small: 185 cases * Medium: 185 cases * Large: 185cases * Extra Large: 185 cases | 740 | 74,000 |
| 6 | Shoe Covers | * Case of 200 * Elastic * Blue * Polyethylene Coated Spundbond Polypropylene * Polypropylene sole * Slip Resistant | 100 | 20,000 |
| 7 | Bouffants | * Soft elastic headband * Non-woven material * Surged seam * Latex-free polypropylene * Pleated or non-pleated design * Packaged in box of 100 | 300 | 30,000 |
| 8 | Coveralls | * Case of 25 * Zipper front, surged seams * Hooded Tyvek coveralls * Elastic Cuffs * Sizes:   + Small   + Medium   + Large   + Extra Large | 20 | 500 |